## Experiment_Info
TITLE (MAX. 50 CHARACTERS)
EXPERIMENTAL SET-UP AND REFERENCE
SPECIES
TISSUE
CONDITION
PTM
PTM ENRICHMENT
PUBMED ID
PRIDE ACCESSION
MS INSTRUMENT
REFERENCE (AUTHOR, YEAR)
MS/MS SEARCH PARAMETERS
PROTEIN DATABASE
DECOY STRATEGY
FDR THRESHOLD
SEARCH ALGORITHM(S)
PRECURSOR MASS TOLERANCE
PTM SITE ALLOCATION (IF APPLICABLE)
IDENTIFICATION SCORE
PROTEASE
VARIABLE MODIFICATIONS
#1
#2
#3
#4
#5
FIXED MODIFICATIONS
#1
#2
#3
LABELS
#1
#2
#3
#4
OTHER
Comment

## Experiment_Example
Short description, if quantitative data with log2 fold change useful to indicate contrast (e.g. heat/ctrl) | TITLE (MAX. 50 CHARACTERS) | Arabidopsis root NAA phosphoproteome
EXPERIMENTAL SET-UP AND REFERENCE
Select from dropdown menu | SPECIES | Arabidopsis thaliana
| TISSUE | Roots seeding 5 dpg
Treatment/genotype/other factors - or simply control conditions | CONDITION | 24h 10 µM NAA
Only 1 PTM type/submission, if multiple please perform separate submission | PTM | Phosphorylation
Antibody, chromatography, enzymatic, .. | PTM ENRICHMENT | MagReSyn Ti-IMAC
Required for public submission (not private) | PUBMED ID | 27643528
Not required but specify if on ProteomeXchange | PRIDE ACCESSION | PXD003634
| MS INSTRUMENT | Q Exactive
First author last name and year | REFERENCE (AUTHOR, YEAR) | Vu et al., 2016
MS/MS SEARCH PARAMETERS
| PROTEIN DATABASE | UniProt (34 509 entries, November 2014)
Typically target-decoy search strategy | DECOY STRATEGY | Reverse decoy database
Typically 1% | FDR THRESHOLD | Peptide 1%
| SEARCH ALGORITHM(S) | MaxQuant 1.5.3.8
| PRECURSOR MASS TOLERANCE | 20 ppm
For MaxQuant typically 'PTM Score' | PTM SITE ALLOCATION (IF APPLICABLE) | PTM Score
MaxQuant Score/MASCOT Score/Xcorr | IDENTIFICATION SCORE | MaxQuant Score
| PROTEASE | Trypsin
VARIABLE MODIFICATIONS
| #1 | Oxidation (M)
| #2 | Phosphorylation (STY)
#3
#4
#5
FIXED MODIFICATIONS
| #1 | Carbamidomethyl (C)
#2
#3
LABELS
For instance dimethyl, SILAC, TMT labeling (isobaric/isotopic labeling) | #1
#2
#3
#4
OTHER
Useful to specify source of the peptide data (e.g. PRIDE file or supplemental table in manuscript) | Comment | Phospho (STY)Sites.txt PRIDE project files
CURRENT PTMS IN PLANT PTM VIEWER
Phosphorylation
Acetylation
Ubiquitination
2-Hydroxyisobutyrylation
3-Phosphoglycerylation
C-terminus proteolysis
Carbamylation
Carbonylation
Crotonylation
Dimethylation
Ethanolamine phosphoglycerylation
Lipoylation
Malonylation
MARylation
Methionine Oxidation
Monomethylation
Myristoylation
N-glycosylation
N-terminal Acetylation
N-terminal Ubiquitination
N-terminus Proteolysis
O-Fucosylation
O-GlcNAcylation
Proline hydroxylation
Reversible Cysteine Oxidation
S-Acylation
S-cyanylation
S-Glutathionylation
S-nitrosylation
S-sulfenylation
Succinylation
SUMOylation
Trimethylation

## Peptide_Info
PEPTIDE - PTM INFORMATION
Proteins do not have no to be provided as peptide sequences will be automatically re-allocated to the PTM Viewer used proteome of the species defined in Experimental info. In this spreadsheet solely PTMs that were enriched and are of interest should be specified, thus not for instance fixed Cys alkylation or variable methionine oxidation. Localization probability and quantitative information can be stored. In case of multiple PTM types, please prepare separate submissions. In case of multiple pairwise comparisons, please provide multiple spreadsheets in parallel and specify clearly in experimental info (title). Quant significant is either TRUE or FALSE, depending on the employed P/Q-value threshold in the manuscript.
MANDATORY FIELDS |  |  |  | OPTIONAL FIELDS (INFO SEE LEGEND ABOVE)
Peptide sequence | PTM Type | Modified AA | Position in pep | Localization Prob | Identification Score | Posterior Error Probability (PEP) | Mass error (ppm) | Quant log2 FC | Quant p-val/q-val/FDR | Quant Significant

## Peptide_Example
PEPTIDE - PTM INFORMATION
Proteins do not have no to be provided as peptide sequences will be automatically re-allocated to the PTM Viewer used proteome of the species defined in Experimental info. In this spreadsheet solely PTMs that were enriched and are of interest should be specified, thus not for instance fixed Cys alkylation or variable methionine oxidation. In case of multiple PTMs per identified peptide, please insert multiple rows per PTM of the peptide and localization probability and scores if available. Localization probability and quantitative information can be stored. In case of multiple pairwise comparisons, please provide multiple spreadsheets in parallel and specify clearly in experimental info. Quant significant is either TRUE or FALSE, depending on the employed P/Q-value threshold.
MANDATORY FIELDS |  |  |  | OPTIONAL FIELDS (INFO SEE LEGEND ABOVE)
Peptide sequence | PTM Type | Modified AA | Position in pep | Localization Prob | Identification Score | Posterior Error Probability (PEP) | Mass error (ppm) | Quant log2 FC | Quant p-val/q-val/FDR | Quant Significant
ASSGIEAHSDEANISNNMSDR | Ph | S | 3 | 0.47 | 32.797 | 0.005 | -0.071
VISVEYAVKDDDSRGNGYSPER | Ph | Y | 18 | 0.014 | 81.974 | 2.171e-08 | -0.545